Medical Devices Essential Principles Checklist

Manufacturers must demonstrate their medical device complies with the Essential Principles. Manufacturers must generate, collate, assess, and maintain scientific and clinical evidence that shows that their devices comply with the Essential Principles. The evidence must be relevant to the device's intended purpose and must be objective, sufficient, and robust.

- The Essential Principles Checklist is a template that may help you:

  - identify the safety and performance requirements that apply to your device

  - document a rationale for any of the safety and performance requirements that aren't relevant

  - summarise the evidence you hold in support of each of the relevant safety and performance requirements

- Completing the checklist could help you:

  - apply for an International conformity assessment certificate

  - comply with regulations as part of a post-market review or investigation

  - to determine if you have considered and addressed all the requirements with supporting evidence

# Instructions

- Complete this checklist for each new medical device conformity assessment application

- Provide an updated checklist if applicable, for change applications relating to your medical device.

- The checklist must be applicable to the subject medical devices or may be completed for a family or group of devices.

- Complete the checklist as outlined in the table instructions below

Table instructions

| Reference to IMDRF GUIDELINES (Essential Principles of Safety and Performance of Medical Devices and IVD Medical Devices) |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| EP No.# | Title of the Essential Principle |  |  |  |  |
| EP.x No.# | The Essential Principle requirement is contained here. | ☐ Tick this box if the Essential Principle requirement is applicable to the device / family of devices. Complete the two columns on the right. | ☐ Tick this box if the Essential Principle requirement is not applicable to your device / family of devices. Then provide justification. | List here the standards / procedures applied with justification (include number / title / version). These include (but are not limited to): - EN ISO international, local standards - company procedures - others | This column is to contain direct reference to documents within the manufacturer’s quality system such as: - study results - test reports - design outputs identified by number / title / version |

# Part 1: GENERAL PRINCIPLES

| Part 1. GENERAL PRINCIPLES |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied List here the standards / procedures applied with justification | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 1 | Use of medical devices not to compromise health and safety A medical device is to be designed and produced in a way that ensures that: (a) the device will not compromise the clinical condition or safety of a patient, or the safety and health of the user of any other person, when the device is used on a patient under the conditions and for the purposes for which the device was intended and, if applicable, by a user with appropriate technical knowledge, experience, education or training; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 1 (cont.) | - any risks associated with the use of the device are: - acceptable risks when weighed against the intended benefit to the patient; and - compatible with a high level of protection of health and safety. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 2 | Design and construction of medical devices to conform with safety principles (1) The solutions adopted by the manufacturer for the design and construction of a medical device must conform with safety principles, having regard to the generally acknowledged state of the art. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 2 (cont.) | - Without limiting subclause (1), in selecting appropriate solutions for the design and construction of a medical device so as to minimise any risks associated with the use of the device, the manufacturer must: - first, identify hazards and associated risks arising from the use of the device for its intended purpose, and foreseeable misuse of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 1. GENERAL PRINCIPLES |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied List here the standards / procedures applied with justification | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 2(2) (cont.) | (b) second, eliminate, or reduce, these risks as far as possible by adopting a policy of inherently safe design and construction; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 2(2) (cont.) | (c) third, if appropriate, ensure that adequate protection measures are taken, including alarms if necessary, in relation to any risks that cannot be eliminated; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 2(2) (cont.) | (d) fourth, inform users of any residual risks that may arise due to any shortcomings of the protection measures adopted. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 2 (cont.) | (3) In paragraph 2 (d): residual risk, for a medical device, means the risk remaining after the measures described in paragraphs (2) (a), (b) and (c) have been applied. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 3 | Medical devices to be suitable for intended purpose A medical device must: (a) perform in the way intended by the manufacturer; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 3 (cont.) | (b) be designed, produced and packaged in a way that ensures that it is suitable for one or more of the purposes mentioned in the definition of medical device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 4 | Long-term safety A medical device must be designed and produced in a way that ensures that if: (a) the device is used within the period, indicated by the manufacturer, in which the device can be safely used; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 4 (cont.) | (b) the device is not subjected to stresses that are outside the stresses that can occur during normal conditions of use; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 1. GENERAL PRINCIPLES |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied List here the standards / procedures applied with justification | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 4 (cont.) | (c) the device is regularly maintained and calibrated in accordance with the manufacturer’s instructions; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 4 (cont.) | the characteristics and performances mentioned in clauses 1, 2 and 3 are not adversely affected. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 5 | Medical devices not to be adversely affected by transport or storage A medical device must be designed, produced and packed in a way that ensures that the characteristics and performance of the device when it is being used for its intended purpose will not be adversely affected during transport and storage that is carried out taking account of the instructions and information provided by the manufacturer. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 6 | Benefits of medical devices to outweigh any undesirable effects The benefits to be gained from the use of a medical device for the performance intended by the manufacturer must outweigh any undesirable effects arising from its use. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

Part 2: PRINCIPLES ABOUT DESIGN AND CONSTRUCTION

EP 7: Chemical, physical and biological properties

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 7 | Chemical, physical and biological properties |  |  |  |  |
| 7.1 | Choice of materials In ensuring that the requirements of Part 1 are met in relation to a medical device, particular attention must be given to: (a) the chemical and physical properties of the materials used in the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.1 (cont.) | (b) the compatibility between the materials used and biological tissues, cells, body fluids and specimens; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.1 (cont.) | having regard to the intended purpose of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.2 | Minimisation of risks associated with contaminants and residues (1) A medical device must be designed, produced and packed in a way that ensures that any risks associated with contaminants and residues that may affect a person who is involved in transporting, storing or using the device, or a patient, are minimised, having regard to the intended purpose of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.2 (cont.) | (2) In minimising risks, particular consideration must be given to the likely duration and frequency of any tissue exposure associated with the transportation, storage or use of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 7 | Chemical, physical and biological properties |  |  |  |  |
| 7.3 | Ability to be used safely with materials, etc (1) A medical device must be designed and produced in a way that ensures that the device can be used safely with any material, substance or gas with which the device may come into contact during normal use or use in routine procedures. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.3 (cont.) | - If the device is intended to be used to administer medicine, it must be designed and produced in a way that ensures that the device: - is compatible with the provisions and restrictions applying to the medicine to be administered; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.3 (cont.) | (b) allows the medicine to perform as intended. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.4 | Verification of incorporated substance - If a medical device incorporates, or is intended to incorporate, as an integral part, a substance that, if used separately, might be considered to be a medicine that is intended to act on a patient in a way that is ancillary to the device: - the safety and quality of the substance must be verified in accordance with the requirements for medicines; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.4 (cont.) | (b) the ancillary action of the substance must be verified having regard to the intended purpose of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.4 (cont.) | (2) For the purposes of this clause, any stable derivative of human blood or human plasma is considered to be a medicine. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.5 | Minimisation of risks associated with leaching substances A medical device must be designed and produced in a way that ensures that any risks associated with substances that may leach from the device are minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 7 | Chemical, physical and biological properties |  |  |  |  |
| 7.6 | Minimisation of risks associated with ingress or egress of substances A medical device must be designed and produced in a way that ensures that any risks associated with unintentional ingress of substances into, or unintentional egress of substances out of, the device are minimised, having regard to the nature of the environment in which the device is intended to be used. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.7 | Minimisation of risks associated with nanomaterials (1) A medical device must be designed and produced in a way that ensures that any risks associated with the size and the properties of particles which are, or can be, released into a patient’s or user’s body are minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.7 (cont.) | (2) In minimising risks, particular attention must be given to the use of nanomaterials. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 7.7 (cont.) | (3) Subclause (1) does not apply to particles that come into contact with intact skin only. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 8: Infection and microbial contamination

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 8. | Infection and microbial contamination |  |  |  |  |
| 8.1 | Minimisation of risk of infection and contamination (1) A medical device must be designed and produced in a way that ensures that the risk of infection to a patient, a user, or any other person, is eliminated or minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.1 (cont.) | - The device must be designed in a way that: - allows it to be easily handled; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.1 (cont.) | (b) if appropriate, minimises contamination of the device or specimen by the patient, user or other person; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.1 (cont.) | (c) if appropriate, minimises contamination of the patient, user or other person by the device or specimen. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.2 | Control of animal, microbial or recombinant tissues, tissue derivatives, cells and other substances - This clause applies in relation to a medical device that contains: - tissues, tissue derivatives, cells or substances or animal origin that have been rendered non-viable; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.2 (cont.) | (b) tissues, tissue derivatives, cells or substances of microbial or recombinant origin. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.2 (cont.) | (2) If the tissues, tissue derivatives, cells or substances originated from animals, the animals must have been subjected to appropriate veterinary controls and supervision, having regard to the intended use of the tissues, tissue derivatives, cells or substances. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 8. | Infection and microbial contamination |  |  |  |  |
| 8.2 (cont.) | (3) If the medical device contains tissues, tissue derivatives, cells or substances of animal origin, a record must be kept of the country of origin of each animal from which the tissues, tissue derivatives, cells or substances originated. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.2 (cont.) | (4) The processing, preservation, testing and handling of tissues, tissue derivatives, cells or substances of animal, microbial or recombinant origin must be carried out in a way that ensures the highest standards of safety for a patient, the user of the device, and any other person. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.2 (cont.) | (5) In particular, the production process must implement validated methods of elimination, or inactivation, in relation to viruses and other transmissible agents. Note: This may not apply to certain IVD medical devices if the characteristics mentioned in subclause 8.2(5) are integral to the intended purpose of the IVD medical device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.3 | Medical devices to be supplied in a sterile state (1) This clause applies in relation to a medical device that is intended by the manufacturer to be supplied in a sterile state. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.3 (cont.) | (2) The device must be designed, produced and packed in a way that ensures that the device is sterile when it is supplied, and will remain sterile, if stored and transported in accordance with the directions of the manufacturer, until the protective packaging is opened or damaged. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.3 (cont.) | (3) The device must be produced and sterilised using an appropriate validated method. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.3 (cont.) | (4) The device must be produced in appropriately controlled conditions. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 8. | Infection and microbial contamination |  |  |  |  |
| 8.4 | Medical devices to be supplied in a non-sterile state (1) A medical device that is intended by the manufacturer to be supplied in a non-sterile state must be packed in a way that ensures that the device maintains the level of cleanliness stipulated by the manufacturer. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.4 (cont.) | - If the device is intended to be sterilised before it is used, the device must be packed in a way that: - ensures that the risk of microbial contamination is minimised; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.4(2) (cont.) | (b) is suitable, having regard to the method of sterilisation that the manufacturer indicates is to be used for the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.4 (cont.) | (3) The device must be produced in appropriately controlled conditions. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 8.5 | Distinction between medical devices supplied in sterile and non-sterile state If a medical device is supplied in both a sterile state and a non-sterile state, the information provided with the device must clearly indicate whether the device is in a sterile state or a non-sterile state. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 9: Construction and environmental properties

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 9 | Construction and environmental properties |  |  |  |  |
| 9.1 | Medical devices intended to be used in combination with other devices or equipment A medical device that is intended by the manufacturer to be used in combination with another medical device or other equipment (including a connection system) must be designed and produced in a way that ensures that: (a) the medical device, and any other device or equipment with which it is used, operate in a safe way; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.1 (cont.) | (b) the intended performance of the device, and any other device or equipment with which it is used, is not impaired. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 | Minimisation of risks associated with use of medical devices A medical device must be designed and produced in a way that ensures that, as far as practicable, the following risks are removed or minimised: (a) the risk of injury arising from the physical features of the device; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 (cont.) | (b) any risks associated with reasonably foreseeable environmental conditions | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 (cont.) | (c) the risk of reciprocal interference involving other devices that are normally used in an investigation or treatment of the kind for which the device is intended to be used; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 (cont.) | (d) any risks arising if maintenance or calibration of the device is not possible; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 (cont.) | (e) any risks associated with the ageing of materials used in the device; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 9 | Construction and environmental properties |  |  |  |  |
| 9.2 (cont.) | (f) any risks associated with the loss of accuracy of any measuring or control mechanism of the device; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 (cont.) | (g) the risk of fire or explosion occurring during normal use of the device, and in the event of a single fault condition, especially if the device is intended to be exposed to flammable substances or substances that can cause combustion; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 9.2 (cont.) | (h) the risks associated with disposal of any waste substances. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 10: Medical devices with a measuring function

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 10 | Medical devices with a measuring function |  |  |  |  |
| 10 | (1) A medical device that has a measuring function must be designed and produced in a way that ensures that the device provides accurate, precise and stable measurements within the limits indicated by the manufacturer and having regard to the intended purpose of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 10 (cont.) | (2) The measurement, monitoring and display scale of the device must be designed and produced in accordance with ergonomic principles, having regard to the intended purpose of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 10 (cont.) | - The measurements made by the device must be expressed: - in International legal units of measurement or be compared to at least one point of reference indicated in International legal units of measurement; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 10 (cont.) | (b) if the device measures a physical quantity for which no International legal unit of measurement has been prescribed. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 11: Protection against radiation

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 11 | Protection against radiation |  |  |  |  |
| 11.1 | Minimisation of exposure to radiation A medical device must be designed and produced in a way that ensures that the exposure of a patient, the user, or any other person, to radiation is minimised, having regard to the levels of radiation required to enable the device to perform its therapeutic and diagnostic functions and the intended purpose of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.2 | Medical devices intended to emit radiation (1) This clause applies in relation to a medical device that is intended by a manufacturer to emit hazardous levels of visible or invisible radiation because the emission is necessary for a specific medical purpose, the benefit of which is considered to outweigh the risks inherent in the emission. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.2 (cont.) | (2) The device must be designed and produced in a way that ensures that the user can control the level of the emission. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.2 (cont.) | (3) The device must be designed and produced in a way that ensures the reproducibility and tolerance of relevant variable parameters. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.2 (cont.) | (4) If practicable, the device must be fitted with a visual indicator or an audible warning, or both, that operates if potentially hazardous levels of radiation are emitted. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.3 | Minimisation of exposure to unintended radiation A medical device must be designed and produced in a way that ensures that the exposure of a patient, the user, or any other person, to the emission of unintended, stray or scattered radiation is minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 11 | Protection against radiation |  |  |  |  |
| 11.4 | Operating instructions The operating instructions for a medical device that emits radiation must include detailed information about the following matters: (a) the nature of the radiation emitted; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.4 (cont.) | (b) the means by which patients and users can be protected from the radiation; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.4 (cont.) | (c) ways to avoid misusing the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.4 (cont.) | (d) ways to eliminate any risks inherent in the installation of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.5 | Medical devices intended to emit ionising radiation – additional requirements (1) This clause applies, in addition to clauses 11.1 to 11.4, in relation to a medical device that is intended by the manufacturer to emit ionising radiation. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.5 (cont.) | (2) The device must be designed and produced in a way that ensures that, if practicable, the quantity, geometry and energy distribution (or quality) of radiation emitted can be controlled and varied, having regard to the intended purpose of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.5 (cont.) | - If the device is intended to be used for diagnostic radiology, the device must be designed and produced in a way that ensures that, when used in relation to a patient for a purpose intended by the manufacturer; - the device achieves an appropriate image or output quality for that purpose; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 11 | Protection against radiation |  |  |  |  |
| 11.5(3) (cont.) | (b) the exposure of the patient, or the user, to radiation is minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 11.5 (cont.) | (4) if the device is intended to be used for therapeutic radiology, the device must be designed and produced in a way that ensures that the delivered dose of radiation, the type and energy of the radiation beam, and, if appropriate, the energy distribution of the radiation beam, can be reliably controlled and monitored. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 12: Medical devices connected to or equipped with an energy source

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12 | Programmed or programmable medical device or software that is a medical device - A programmed or programmable medical device, or software that is a medical device, that is intended to make use of either or both of data and information must be designed and produced in a way that ensures that: - the safety, performance, reliability, accuracy, precision, useability, security and repeatability of the device are appropriate for the intended purpose of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(1) (cont.) | (b) any consequent risks, or impairment of performance, associated with one or more fault conditions is eliminated or appropriately reduced; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.1(1) (cont.) | (c) the device is resilient with respect to interactions that could occur during the use of the device and that could result in unsafe performance of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(1) (cont.) | - if relevant to the safety of a patient, or the safety and health of the user or any other person, the device provides suitable warnings in a timely manner: - following the disruption to services upon which the device is dependent for the device’s operation; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(1)(d) (cont.) | (ii) following the performance of the device being adversely affected; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(1) (cont.) | (e) if relevant to the safety of a patient, or the safety and health of the user or any other person, the device provides a means by which the user can verify correct operation of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(1) (cont.) | (f) if relevant to the safety of a patient, or the safety and health of the user or any other person, the integrity and quality of the data or information is maintained; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(1) (cont.) | (g) if relevant, the privacy of the data or information is maintained. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1 (cont.) | (2) A programmed or programmable medical device, or software that is a medical device, must be developed, produced and maintained having regard to the generally acknowledged state of the art (including for design, development life cycle, development environment, version control, quality and risk management, security, verification and validation, change and configuration management and problem resolution). | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.1 (cont.) | (3) A programmed or programmable medical device, or software that is a medical device, that is intended to be used in combination with computing platforms must be designed and developed taking into account the capability, resources and configuration of the platforms and the external factors (including information technology environments) related to the use of the platforms | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1 (cont.) | (4) The manufacturer of a programmed or programmable medical device, or software that is a medical device, must provide instructions or information with the device that sets out requirements (including requirements about hardware, software, information technology environments and security measures) necessary to operate the device as intended. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1 (cont.) | - A programmed or programmable medical device, or software that is a medical device, must be designed, produced and maintained with regard to best practice in relation to software, security and engineering to provide cybersecurity of the device, including where appropriate the following: - protection against unauthorised access, unauthorised influence or unauthorised manipulation; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(5) (cont.) | (b) minimisation of risks associated with known cybersecurity vulnerabilities (including either or both of remediation of known vulnerabilities and application of compensating controls); | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(5) (cont.) | (c) facilitation of the application of updates, patches, compensating controls and other improvements; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.1(5) (cont.) | (d) disclosure of known vulnerabilities in the device or its components and associated mitigations; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(5) (cont.) | (e) making available sufficient information for a user to make decisions with respect to the safety of applying, or not applying, updates, patches, compensating controls and other improvements. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1 (cont.) | - The manufacturer of a programmed or programmable medical device, or software that is a medical device, having regard to the intended purpose of the device, the generally acknowledged state of the art and best practice, must ensure that the data that influences the performance of the device is: - representative; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(6) (cont.) | (b) of sufficient quality; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(6) (cont.) | (c) maintained to ensure integrity; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.1(6) (cont.) | (d) managed to reduce bias. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.2 | Safety dependent on internal power supply (1) This clause applies in relation to a medical device if the safety of a patient on whom the device is to be used will depend on an internal power supply for the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.2 (cont.) | (2) The device must be fitted with a means of determining the state of the power supply. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.3 | Safety dependent on external power supply (1) This clause applies in relation to a medical device if the safety of a patient on whom the device is to be used will depend on an external power supply for the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.3 (cont.) | (2) The device must be fitted with an alarm system that indicates whether a power failure has occurred. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.4 | Medical devices intended to monitor clinical parameters A medical device that is intended by the manufacturer to be used to monitor one or more clinical parameters of a patient must be fitted with an appropriate alarm system to warn the user if a situation has developed that could lead to the death of the patient or a severe deterioration in the state of the patient’s health. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.5 | Minimisation of risk of electromagnetic fields A medical device must be designed and produced in a way that ensures that the risk of an electromagnetic field being created that could impair the operation of other devices or equipment being used in the vicinity of the medical device is minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.6 | Protection against electrical risks A medical device must be designed and produced in a way that ensures that, as far as possible, when the device is installed correctly, and the device is being used for an intended purpose under normal conditions of use and in the event of a single fault condition, patients, users, and any other persons, are protected against the risk of accidental electric shock. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.7 | Protection against mechanical risks A medical device must be designed and produced in a way that ensures that a patient, the users and any other person, is protected against any mechanical risks associated with the use of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.8 | Protection against risks associated with vibration (1) A medical device must be designed and produced in a way that ensures that any risks associated with vibrations generated by the device are minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.8 (cont.) | (2) If vibrations are not part of the intended performance of the device, particular attention must be given to relevant technical progress, and the available means, for limiting vibrations, particularly at source. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.9 | Protection against risks associated with noise (1) A medical device must be designed and produced in a way that ensures that any risks associated with noise emitted by the device are minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.9 (cont.) | (2) If noise is not part of the intended performance of the device, particular attention must be given to relevant technical progress, and the available means, for reducing the emission of noise, particularly at source. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.10 | Protection against risks associated with terminals and connectors A medical device that is intended by the manufacturer to be connected to an electric, gas, hydraulic, pneumatic or other energy supply must be designed and produced in a way that ensures that any risks to the user associated with the handling of a terminal or connector on the device, in relation to the energy supply, are minimised. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.11 | Protection against risks associated with heat A medical device must be designed and produced in a way that ensures that, during normal use, any accessible part of the device (other than any part intended by the manufacturer to supply heat or reach a given temperature), and any area surrounding an accessible part of the device, does not reach a potentially dangerous temperature. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.12 | Protection against risks associated with administration of energy or substances (1) This clause applies in relation to a medical device that is intended by the manufacturer to be used to administer energy or a substance to a patient. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.12 (cont.) | - The device must be designed and produced in a way that ensures that: - the delivered rate and amount of energy, or of the substance, can be set and maintained accurately to ensure the safety of the patient and the user; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.12(2) (cont.) | (b) as far as possible, the accidental release of dangerous levels of energy or of the substance is prevented. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.12 (cont.) | (3) The device must be fitted with a means of indicating or, if appropriate, preventing inadequacies in the rate and amount of energy, or of the substance, administered that might cause danger to the patient, the user or any other person. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.12 (cont.) | (4) The functions of each control and indicator on the device must be clearly specified on the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 12 | Medical devices connected to or equipped with an energy source |  |  |  |  |
| 12.12 (cont.) | (5) If the instructions for the operation of the device, or the operating or adjustment parameters for the device, are displayed by means of a visual system incorporated into the device, the instructions or parameters must be able to be understood by the user and, if appropriate, the patient. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.13 | Active implantable medical devices - An active implantable medical device must incorporate, display, emit or exhibit a code or unique characteristic that can be used to identify: - the type of device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.13(1) (cont.) | (b) the manufacturer of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.13(1) (cont.) | (c) the year of manufacture of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 12.13 (cont.) | (2) The code or unique characteristic must be able to be read without the need for surgery to the person in whom the device is implanted. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 13: Information to be provided with medical devices

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |
| 13.1 | Information to be provided with medical devices— general - The following information must be provided with a medical device: - information identifying the device; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.1(1) (cont.) | (b) information identifying the manufacturer of the device; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.1(1) (cont.) | (c) information explaining how to use the device safely having regard to the training and knowledge of potential users of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.1 (cont.) | - In particular - the information required by clause 13.3 must be provided with a medical device; and - if instructions for use of the device are required under subclause 13.4, the information mentioned in subclause 13.4(3) must be provided in those instructions. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.1 (cont.) | - The information: - must be provided in English; and - may also be provided in any other language. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.1 (cont.) | (4) The format, content and location of the information must be appropriate for the device and its intended purpose. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.1 (cont.) | (5) Any number, letter, symbol, or letter or number in a symbol, used in the information must be legible and at least 1 millimetre high. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |
| 13.1 (cont.) | (6) If a symbol or identification colour that is not included in a medical device standard is used in the information provided with the device, or in the instructions for use of the device, the meaning of the symbol or identification colour must be explained in the information provided with the device or the instructions for use of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.2 | Information to be provided with medical devices— location (1) Unless it is impracticable or inappropriate to do so, the information required to be provided with a medical device must be provided on the device itself. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.2 (cont.) | - If it is not practicable to comply with subclause (1) in relation to the provision of the information, the information must be provided: - on the packaging used for the device; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.2(2) (cont.) | (b) in the case of devices that are packaged together because individual packaging of the devices for supply is not practicable—on the outer packaging used for the devices. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.2 (cont.) | (3) If it is not practicable to comply with subclause (1) or (2) in relation to the provision of the information | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.2(3) (cont.) | (a) for a medical device that is not software—the information must be provided on a leaflet supplied with the device; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.2(3) (cont.) | (b) for a medical device that is software—the information must be provided on a leaflet supplied with the device or the information must be provided electronically. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.2 (cont.) | (4) If it is not practicable to comply with subclause (1) or (2) in relation to the provision of the information required under clause 13.4, the information must be provided in a printed document or using other appropriate media. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 | Information to be provided with medical devices— particular requirements The information mentioned in the following table must be provided with a medical device. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | Item | Information to be provided |  |  |  |  |
| 13.3 (cont.) | 1 | The manufacturer’s name, or trading name, and address | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 2 | The intended purpose of the device, the intended user of the device, and the kind of patient on whom the device is intended to be used (if this information is not obvious) | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 3 | Sufficient information to enable a user to identify the device, or if relevant, the contents of packaging | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 4 | Any particular handling or storage requirements applying to the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 5 | Any warnings, restrictions, or precautions that should be taken, in relation to use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 6 | Any special operating instructions for the use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 7 | If applicable, an indication that the device is intended for a single use only | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.3 (cont.) | 8 | If applicable, an indication that the device has been custom-made for a particular individual or health professional and is intended for use only by that individual or health professional | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 9 | If applicable, an indication that: (a) if the device is a medical device other than an IVD medical device—the device is intended for pre-market clinical investigation; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 Item 9 (cont.) |  | (b) if the device is an IVD medical device—the device is intended for performance evaluation only | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 10 | For a sterile device, the word ‘STERILE’ and information about the method that was used to sterilise the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 11 | The batch code, lot number or serial number of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 12 | If applicable, a statement of the date (expressed in a way that clearly identifies the month and year) up to when the device can be safely used | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 13 | If the information provided with the device does not include the information mentioned in item 12—a statement of the date of manufacture of the device (this may be included in the batch code, lot number or serial number of the device, provided the date is clearly identifiable) | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.3 (cont.) | 14 | If applicable, the words ‘for export only’ | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 | Instructions for use (1) Instructions for the use of a medical device must be provided with the device. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | - However, instructions for the use of a medical device need not be provided with the device, or may be abbreviated, if: - the device is a Class I medical device, a Class IIa medical device or a Class 1 IVD medical device; and |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4(2) (cont.) | (b) the device can be used safely for its intended purpose without instructions. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | (3) Instructions for the use of a medical device must include information mentioned in the following table that is applicable to the device. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | Item | Information to be provided |  |  |  |  |
| 13.4 (cont.) | 1 | The manufacturer’s name, or trading name, and address | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 2 | The intended purpose of the device, the intended user of the device, and the kind of patient on whom the device is intended to be used | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 (cont.) | 3 | Information about any risk arising because of other equipment likely to be present when the device is being used for its intended purpose (for example, electrical interference from electro-surgical devices or magnetic field interference from magnetic resonance imaging devices) | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 4 | Information about the intended performance of the device and any undesirable side effects caused by use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 5 | Any contra-indications, warnings, restrictions, or precautions that may apply in relation to use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 6 | Sufficient information to enable a user to identify the device, or if relevant, the contents of packaging | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 7 | Any particular handling or storage requirements applying to the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 8 | If applicable, an indication that the device is intended for a single use only | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 9 | If applicable, an indication that the device has been custom-made for a particular individual or health professional and is intended for use only by that individual or health professional | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 10 | If applicable, an indication that: (a) if the device is a medical device other than an IVD medical device—the device is intended for pre-market clinical investigation; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 10 (cont.) |  | (b) if the device is an IVD medical device—the device is intended for performance evaluation only | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 (cont.) | 11 | For a sterile device, the word ‘STERILE’ and information about the method that was used to sterilise the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 12 | For a device that is intended by the manufacturer to be supplied in a sterile state: (a) an indication that the device is sterile; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 Item 12 (cont.) |  | (b) information about what to do if sterile packaging is damaged; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 12 (cont.) |  | (c) if appropriate, instructions for re-sterilisation of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 13 | For a medical device that is intended by the manufacturer to be sterilised before use— instructions for cleaning and sterilising the device which, if followed, will ensure that the device continues to comply with the applicable provisions of the Essential Principles | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 14 | Any special operating instructions for the use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 15 | Information to enable the user to verify whether the device is properly installed and whether it can be operated safely and correctly, including details of calibration (if any) needed to ensure that the device operates properly and safely during its intended life | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 16 | Information about the nature and frequency of regular and preventative maintenance of the device, including information about the replacement of consumable components of the device during its intended life | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 (cont.) | 17 | Information about any treatment or handling needed before the device can be used | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 18 | For a device that is intended by the manufacturer to be installed with, or connected to, another medical device or other equipment so that the device can operate as required for its intended purpose— sufficient information about the device to enable the user to identify the appropriate other medical device or equipment that will ensure a safe combination | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 19 | For an implantable medical device—information about any risks associated with its implantation | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 20 | For a reusable device: (a) information about the appropriate processes to allow reuse of the device (including information about cleaning, disinfection, packaging and, if appropriate, re-sterilisation of the device); and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 20 (cont.) |  | (b) an indication of the number of times the device may be safely reused | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 21 | For a medical device that is intended by the manufacturer to emit radiation for medical purposes—details of the nature, type, intensity and distribution of the radiation emitted | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 22 | Information about precautions that should be taken by a patient and the user if the performance of the device changes | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 (cont.) | 23 | Information about precautions that should be taken by a patient and the user if it is reasonably foreseeable that use of the device will result in the patient or user being exposed to adverse environmental conditions | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 24 | Adequate information about any medicinal product that the device is designed to administer, including any limitations on the substances that may be administered using the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 25 | Information about any medicine (including any stable derivative of human blood or blood plasma) that is incorporated, or is intended to be incorporated, into the device as an integral part of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 25A | For a medical device, other than an IVD medical device, information about any tissues, tissue derivatives, cells or substances of animal origin that have been rendered non-viable, or tissues, cells or substances of microbial or recombinant origin that are included in the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 26 | Information about precautions that should be taken by a patient and the user if there are special or unusual risks associated with the disposal of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 27 | Information about the degree of accuracy claimed if the device has a measuring function | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 28 | Information about any particular facilities required for use of the device or any particular training or qualifications required by the user of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 (cont.) | 29 | For an IVD medical device, information (including, to the extent practicable, drawings and diagrams) about the following: (a) the scientific principle (the ‘test principle’) on which the performance of the IVD medical device relies; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (b) specimen type, collection, handling and preparation; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (c) reagent description and any limitations (for example, use with a dedicated instrument only); | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (d) assay procedure including calculations and interpretation of results; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (e) interfering substances and their effect on the performance of the assay; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (f) analytical performance characteristics, such as sensitivity, specificity, accuracy and precision; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (g) clinical performance characteristics, such as sensitivity and specificity; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (h) reference intervals, if appropriate; | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 item 29 (cont.) |  | (i) any precautions to be taken in relation to substances or materials that present a risk of infection | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Information to be provided with medical devices |  |  |  |  |  |
| 13.4 (cont.) | 30 | For an adaptable medical device, instructions for assembling or adapting the device which, if followed, will ensure that the device continues to comply with the applicable provisions of the Essential Principles | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13.4 (cont.) | 31 | For a medical device production system, instructions for the process to be followed in producing the medical device the system is intended to produce which, if followed, will ensure that the device so produced will comply with the applicable provisions of the Essential Principles | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 13A: Patient information about implantable medical devices or active implantable medical devices to be made available

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |
| 13A.1 | Scope of clauses 13A.2 to 13A.4 - Clauses 13A.2 to 13A.4 apply to a medical device that is: - an implantable medical device or an active implantable medical device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(1) (cont.) | (b) not a suture, staple, dental filling, dental brace, tooth crown, screw, wedge, plate, wire, pin, clip, connector or similar article; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |
| 13A.1(1) (cont.) | (c) (ba) not intended by the manufacturer to be for export only; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(1) (cont.) | (d) not a medical device to which subclause (2) applies. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1 (cont.) | - This subclause applies to a medical device if: - the medical device is intended by the manufacturer to be wholly, or mostly, absorbed by a patient’s body within 6 months of being implanted; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(2) (cont.) | - the medical device is: - for use as a filler; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(2) (cont.) | (ii) for haemostasis; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(2) (cont.) | (iii) for tissue approximation; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(2) (cont.) | (iv) for the fixation of other medical devices within tissue; or | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.1(2) (cont.) | (v) a similar medical device to a medical device covered by subparagraph (i), (ii), (iii) or (iv). | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |  |  |
| 13A.2 | Patient implant cards etc. for implantable devices - Either: - a card (a patient implant card) that includes the information covered by subclause (2) and that satisfies clause 13A.4 must be made available for provision to the patient concerned; or |  |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.2(1) (cont.) | (b) information covered by subclause (2) that is in electronic form and that satisfies clause 13A.4 must be made available in a way that is readily accessible by the patient concerned. |  |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.2 (cont.) | (2) The information covered by this subclause is the information in the following table. |  |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.2(2) (cont.) | Item |  | Information to be provided |  |  |  |  |
| 13A.2(2) (cont.) | 1 | (a) | the name of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.2(2) Item 1 (cont.) | (cont.) | (b) | the model of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.2(2) item 1 (cont.) | (cont.) | (c) | the batch code, lot number or serial number of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.2 (cont.) | 2 |  | The manufacturer’s name, address and website | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |  |
| 13A.3 | Patient information leaflets etc. for implantable devices - Either: - a leaflet (a patient information leaflet) that includes the information covered by subclauses (2) and (3) and that satisfies subclause (4) and clause 13A.4 must be made available for provision to the patient concerned; or |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(1) (cont.) | (b) information covered by subclauses (2) and (3) that is in electronic form and that satisfies subclause (4) and clause 13A.4 must be made available in a way that is readily accessible by the patient concerned. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3 (cont.) | - The information covered by this subclause is the following information: - information identifying the device, or the kind of device; |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(2) (cont.) | (b) the intended purpose of the device; |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(2) (cont.) | (c) information explaining how to use the device safely; |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(2) (cont.) | (d) other information about the device that the manufacturer considers would be useful for patients. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3 (cont.) | (3) The information covered by this subclause is the information in the following table. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | Item | Information to be provided |  |  |  |  |
| 13A.3(3) (cont.) | 1 | (a) the name of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |  |
| 13A.3(3) (cont.) | (cont.) | (b) the model of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 2 | (a) the intended purpose of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (b) the kind of patient on whom the device is intended to be used | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 3 | Any special operating instructions for the use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 4 | (a) the intended performance of the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (b) any undesirable side effects that could be caused by use of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 5 | Any residual risks that could arise due to any shortcomings of the protection measures adopted as mentioned in subclause 2(2) | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 6 | (a) warnings about risks that could arise from the interaction of the device with other equipment; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |  |
| 13A.3(3) (cont.) | (cont.) | - precautions and other measures that, because of those risks, should be taken by the patient or a health professional - Example 1: The risk of electrical interference from electro-surgical devices. - Example 2: The risk of magnetic field interference from magnetic resonance imaging devices. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 7 | (a) the nature and frequency of regular or preventative examination, monitoring or maintenance of the device that should be undertaken; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (b) symptoms that could indicate that the device is malfunctioning; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (c) precautions and other measures that should be taken by the patient if the performance of the device changes or the patient experiences any of the symptoms mentioned in paragraph (b); and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (d) the expected device lifetime; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (e) anything that could shorten or lengthen the device lifetime; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (f) precautions and other measures that should be taken at, or near, the end of the expected device lifetime; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |  |
| 13A.3(3) (cont.) | (cont.) | (g) other circumstances in which the patient should contact a health professional in relation to the operation of the device | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 8 | (a) the materials and substances included in the device; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | (cont.) | (b) any manufacturing residuals that could pose a risk to the patient | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3(3) (cont.) | 9 | (a) (a) a notice that any serious incident that occurs in relation to the device should be reported to the manufacturer and to the ANARME, IP; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.3 (cont.) | (4) The information covered by subclauses (2) and (3) must be written in a way that is readily understood by patients. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.4 | General requirements for information to be made available for patients - The information covered by subclause 13A.2(2) or 13A.3(2) or (3): - must be included in English; and - may also be included in any other language. Note: The information may also include diagrams or drawings. |  | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 13A | Patient information about implantable medical devices or active implantable medical devices to be made available |  |  |  |  |
| 13A.4 (cont) | - Any number, letter or symbol, or letter or number in a symbol, that is part of the information covered by subclause 13A.2(2) or 13A.3(2) or (3) must be: - legible; and | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13A.4(2) (cont) | (b) if the number, letter or symbol, or letter or number in a symbol, is included in a patient implant card or patient information leaflet—at least 1 millimetre high. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 13B: Software—version numbers and build numbers

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 13B | Software—version numbers and build numbers |  |  |  |  |
| 13B | (1) For a medical device that is software, or that incorporates software, the current version number and current build number of the software must be accessible by, and identifiable to, users of the device. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 13B (cont.) | - The current version number and current build number of the software: - must be in English; and - may also be in any other language. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 14: Clinical evidence

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 14 | Clinical evidence |  |  |  |  |
| 14 | Every medical device requires clinical evidence, appropriate for the use and classification of the device, demonstrating that the device complies with the applicable provisions of the Essential Principles. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

EP 15: Principles applying to IVD medical devices only

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 15 | Principles applying to IVD medical devices only |  |  |  |  |
| 15 | (1) An IVD medical device must be designed and manufactured in a way in which the analytical and clinical characteristics support the intended use, based on appropriate scientific and technical methods. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 15 (cont.) | (2) An IVD medical device must be designed in a way that addresses accuracy, precision, sensitivity, specificity, stability, control of known relevant interference and measurement of uncertainty, as appropriate. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 15 (cont.) | (3) If performance of an IVD medical device depends in whole or part on the use of calibrators or control materials, the traceability of values assigned to the calibrators or control material must be assured through a quality management system. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |

| Part 2. PRINCIPLES ABOUT DESIGN AND CONSTRUCTION |  | Applicable | Not applicable Justification must be provided below | Medical Devices / IVD standard or other procedure applied | Evidence of compliance Include direct reference to documents within the manufacturer’s quality system |
| --- | --- | --- | --- | --- | --- |
| 15 | Principles applying to IVD medical devices only |  |  |  |  |
| 15 (cont.) | (4) An IVD medical device must, to the extent reasonably practicable, include provision for the user to verify, at the time of use, that the device will perform as intended by the manufacturer. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 15 (cont.) | (5) An IVD medical device for self-testing must be designed and manufactured so that it performs appropriately for its intended purpose, taking into account the skills and the means available to users and the influence resulting from variation that can reasonably be anticipated in the user’s technique and environment. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 15 (cont.) | (6) The information and instructions provided by the manufacturer of an IVD medical device for self-testing must be easy for the user to understand and apply. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |
| 15 (cont.) | (7) An IVD medical device for self-testing must be designed and manufactured in a way that reduces, to the extent practicable, the risk of error in the use of the device, the handling of the sample and the interpretation of results. | ☐ | ☐ Provide Justification | List here the standards / procedures applied with justification | Include direct reference to documents within the manufacturer’s quality system |